# Text boxes

Victory Lighting

Product Data Specification

Product Code: 64241570

Issue No: 1

Issue Date: 29 September 2004

| A | 353±2 | E |  |
| --- | --- | --- | --- |
| B |  | F | 10.5 |
| C | 300±5 | G |  |
| D |  | H | 5 Max |

All dimensions in mm unless otherwise stated

- Supplied lamp

- Cap: Ceramic flexi

- Leads: double insulated with push terminals

- Glare reduction coating

| Volts | 240 | Colour Temp |  |
| --- | --- | --- | --- |
| Watts | 1500 | Life | 5000 |
| Lumen/Watt |  | Burning Position | Universal |
| Finish | Gold coating | Leads | Double ins |
| Cap | Sk15 |  |  |

Authorised By

240v 1500w Glare Reduction Lamp

(  Property of Victory Lighting Limited, Quay West, Salamander Quay, Harefield, Uxbridge, Middlesex, UB9 6NZ

Dimensions

Technical Data