# Text boxes

Victory Lighting

Product Data Specification

Product Code: 64383022

Issue No:  3

Issue Date: 7 June 2004

| A | 798±5 | E | 5 Max |
| --- | --- | --- | --- |
| B |  | F |  |
| C | 700 Nom | G | 10.5 |
| D |  | H |  |

All dimensions in mm unless otherwise stated

- Use pumped lamp 3803000E768

- Metal strap. Code no: 206204

- Nickel wire 2mm dia x 5mm long. Code no: 100051

- Lamp to be dunched

| Volts | 380 | Colour Temp |  |
| --- | --- | --- | --- |
| Watts | 3000 | Life | 5000 |
| Lumen/Watt | 6-8 | Burning Position | Universal |
| Finish | Clear | Leads |  |
| Cap | Metal strap |  |  |

Authorised By

380v 3000w IR Lamp

(  Property of Victory Lighting Limited, Quay West, Salamander Quay, Harefield, Uxbridge, Middlesex. UB9 6NZ

Dimensions

Technical Data